## Slide 1: Sensor and SDR
Foxconn CABG/SRD/SDS/FW
Rachel Zhai
8/28/2015

## Slide 2
所谓硬件监控即是在PC机內设置各种传感器（Sensor），包括在CPU、主机板上设置温度传感器（Temperature），为风扇设置转速感应器（Fan），在供电线路上设置电压的量测器（Voltage），以及在机壳上设置触动开关，一旦有未经网管人员允许的掀盖动作，就会向专业咨询人员发出警讯以便及时处理，同时其他的监控指数一旦出现偏差（如温度过高、转速过慢等）也一样会发讯通知。
Introduction

## Slide 3
  在IPMI （Intelligent Platform Management Interface）管理平台中, BMC（Baseboard Management Controller, 因为多集成于主板而得名）是核心控制器，系统管理软件对各个被管理器件的管理，都是通过与BMC通信来实现的。
Introduction

## Slide 4
  在IPMB（Intelligent Platform Management Bus）总线上连接着各个管理控制器，分别执行不同功能。IPMB总线上还连接着一些I2C器件，用来作为传感器的接口，让系统管理软件能够通过IPMB来读取传感器的数据。同时，这些传感器的具体配置信息，如告警门限、事件触发是否允许等配置都保存在一组名为SDR（Sensor Data Record）的数据里面。而传感器产生的告警事件则保存在一组叫做SEL（System Event Log）的数据里面。在IPMB总线上，连接着一个ICMB（Intelligent Chassis Management Bus）桥，通过ICMB可以和远程的另一个管理平台通信。此外，在IPMB总线上，还可以外接其他的用户板，用来扩展IPMI （Intelligent Platform Management Interface）管理平台的功能。
Introduction

## Slide 5
  通过BMC芯片上的一对SMBus接口连接网络，用户可以通过网络访问实现对远程服务器接管的带外管理（out-of-band）功能。在远程服务器宕机的情况下，用户可以通过SDR，SEL数据，分析诊断故障原因。
  SDR（Sensor Data Record）、SEL（Sensor Event Log）、FRU（FieldReplacement Unit）物理实体可以是做在芯片内的存储体 （EEPROM）。
Introduction

## Slide 6: SDR
Sensor Type
  Temperature
  Voltage
  Current
  Fan
Senor Number
Sensor Threshold

## Slide 7: SDR Format
Sensor Data Record Formats
  RECORD HEADER (Record ID, SDR Version, Record Type, Record Length)
  RECORD ‘KEY’ FIELDS (slave address, LUN, and sensor number)
  RECORD BODY

## Slide 8: SDR Format

## Slide 9: SDR Type

## Slide 10: SDR
Sdr list

## Slide 11: SDR
Sensor list

## Slide 12: SDR Device Cmds
Reference:
Intelligent Platform Management interface Specification v2.0

## Slide 13: SDR Device Cmd
Record ID can be
  unique
  recycled

## Slide 14: SDR Device Cmd
Get SDR Repository Info Command
Get SDR Command

## Slide 15: Sensor Device Cmd
S/E

## Slide 16: Sensor Device Cmd
Get sensor thresholds

## Slide 17: Sensor Device Cmd
Get Device SDR & Get SDR
Same Response Data

## Slide 18: Sensor Device Cmd
Get sensor reading factors
Intelligent Platform Management interface Specification v2.0
----------Appendix G

## Slide 19: Avocent IDE
Tablemaker

## Slide 20: Avocent IDE
Tablemaker SDR

## Slide 21: AMI IDE
MDS（MegaRAC Development Studio）

## Slide 22: Factor Calculation
Voltage Sensor Method
*

## Slide 23: Factor Calculate
X

## Slide 24: Factor Calculate
Sensor Reading Conversion Formula

## Slide 25
Thanks